A Bidder requested clarification on the under-mentioned questions; the questions are in black and the responses from the JCAA are in **blue**. It is the JCAA’s position that all Bidders must be privy to the same information in an effort to maintain transparency and fairness of the procurement process, hence us publicizing the responses to the clarifications being sought.

**Question #1:**

In regard to RFP-2022-JCAA-19-The-procurement-of-Furniture-and-Partitions-for-the-JCAA, kindly provide clarity as it relates to the six Inspector Workstation and Exam Room on page 49. Kindly let us know where we can locate this on the drawing.

**JCAA’s response:**

Please note the label “INSPECTORS & EXAM ROOM for type A is incorrect, it should be DATA ANALYZER, SNR. SEC & EXAMINATION RM.  These six (6) Workstation A are entirely new and are to be quoted as complete systems workstations with 42” high panels (no glass).

The 4 workstations for the Examination Room are colored in green and the Data Analyzer and Snr. Sec. Workstations are colored yellow.

Drawing is attached.